MOLE DAS FTIR Side-by-Side One-Page Field Form

Document date: 2026-03-25

Deployment basis: 2026_03_24_002

Companion procedure: MOLE_DAS_FTIR_SIDE_BY_SIDE_SIMPLE_WORKFLOW_2026_03_25.md

Project Setup

| FIELD | ENTRY |
| --- | --- |
| Project Identification (ID) |  |
| Site / Unit |  |
| Test Date |  |
| MOLE Operator |  |
| FTIR Operator |  |
| FTIR Project Identification (ID) |  |
| Clock Offset (if known) |  |
| Tee Installed on FTIR Inlet? | YES / NO |
| Block Valve Installed on MOLE Sample Circuit? | YES / NO |
| Vent Routed Safely? | YES / NO |
| Cal / Bias Gas Connected? | YES / NO |

Warmup and Pre-Project Calibration

| TASK | START | STOP | RESULTS / NOTES |
| --- | --- | --- | --- |
| FTIR Power ONLINE |  |  |  |
| FTIR STABLE (Background) |  |  |  |
| MOLE Power ONLINE |  |  |  |
| MOLE STABLE |  |  |  |
| Ambient Purge Prior to Calibration |  |  |  |
| Pre-Project ZERO |  |  |  |
| Pre-Project SPAN |  |  |  |
| Bias Line Verification |  |  |  |
| O2 Ambient Confirmation (PURGE) |  |  |  |

Run Log

| RUN NUMBER | FTIR START | MOLE START | FTIR START | MOLE STOP | VALVE OPEN | VALVE CLOSED | NOTES |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |

Twenty-Minute Bias Valve Events

| EVENT NUMBER | RUN NUMBER | OPEN TIME | CLOSE TIME | RUNTIME MINUTES | NOTES |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |

Ambient Purge After Each Run

| RUN NUMBER | PURGE START | PURGE STOP | O2 DURING PURGE (%) | PASS/FAIL | NOTES |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  | Pass / Fail |  |
| 2 |  |  |  | Pass / Fail |  |
| 3 |  |  |  | Pass / Fail |  |
| 4 |  |  |  | Pass / Fail |  |

Timestamp Alignment Markers

| MARKER | FTIR TIMESTAMP | MOLE TIMESTAMP | REFERENCE CLOCK |
| --- | --- | --- | --- |
| Project Acquisition - Start |  |  |  |
| Initial Calibration Step - Start |  |  |  |
| Initial Bias Valve Opening |  |  |  |
| Mid – Project Bias Valve Opening |  |  |  |

Post-Project Drift Assessment

| TASK | START TIME | STOP TIME | GAS / RESULT | NOTES |
| --- | --- | --- | --- | --- |
| Project Acquisition - Start |  |  |  |  |
| Initial Calibration Step - Start |  |  |  |  |
| Initial Bias Valve Opening |  |  |  |  |
| Mid – Project Bias Valve Opening |  |  |  |  |

Notes and Observations

| TIME | OBSERVATION / ACTION | INITIALS |
| --- | --- | --- |